

***Ministry of Gender Equality and Family Welfare***

OPEN NATIONAL BIDDING

**for**

**Renting of Building- Wellness Centre for Women in the region of Rivière Du Rempart**

**Procurement Reference No: MGE/QN/29/2022-2023/ONB**

**Closing Date: 21 July 2023**

**7th Floor, Newton Tower,**

**Sir William Newton Street,**

**Port-Louis**

**Tel. 405 3300**

***Ministry of Gender Equality and Family Welfare***

**(Authorized under section 16(1) of the Public Procurement Act 2006)**

**INVITATION FOR BID**

**Rental of Building -Wellness Centre for Women in the region of Rivière du Rempart**

The **Ministry of Gender Equality and Family Welfare**intends to rent Office Space around **500 m2** at Rivière du Rempart or in the vicinity, equipped with amenities such as water supply, partitions, power points, air-conditioning, telephone connections, parking facilities and in accordance with Health and Safety Regulations to be used as office space for the setting up of a Wellness Centre for Women in the region of Rivière du Rempart.

Any resulting contract shall be subject to the terms and conditions referred to in the bid document. Queries, if any, should be addressed to **The Secretary, Departmental Bid Committee, 7th floor Newton Tower, Port-Louis or genderdbc@govmu.org.**

The proposed Office Space should be of reinforced concrete, with easy access to the public, easy access for vehicles, toilet facilities, parking facilities and essential amenities and preferably on the Ground Floor.

The Bidding document is available at the Secretariat of the Departmental Bid Committeeof the Ministry, **7th Floor, Newton Tower, Sir William Newton Street, Port Louis or can be downloaded, free of charge, from the website of the public Procurement Portal (publicprocurement.govmu.org) or the website of the Ministry (gender.govmu.org).**

The duly completed quotation form should be sealed in a single envelope, clearly marked with the Procurement Reference Number and the Bidder’s name at the back of the envelope and addressed to: The Permanent Secretary, Ministry of Gender Equality and Family Welfare.The sealed envelope should be deposited in the Tender Box located at **7th Floor, Newton Tower, Sir William Newton Street, Port Louis, not later than 21 July 2023 at 14 00 hrs**.

Late quotations will be rejected and shall be returned unopened to the bidder concerned.

The Ministry of Gender Equality and Family Welfare reserves the right to:-

1. accept or reject any bid; and

 (b) annul the bidding process and reject all bids at any time prior to contract award, without incurring any liability towards the bidder.

**Ministry of Gender Equality and Family Welfare**

**7th Floor, Sir William Newton Street**

**Port-Louis**

**Tel. 405 3300**

**General Terms and Conditions Applicable to the Bidding process**

1. **Rights of Public Body**

The **Ministry of Gender Equality and Family Welfare**shall have the rights to (a) request clarifications at time of evaluating quotations; and (b) reject any quotation. The Ministry shall not be bound to accept the lowest or any quotation.

1. **Prices**

The monthly rental fee quoted shall be **subject to the concurrence of the Valuation Department** and shall be firm throughout the contract period and inclusive of VAT and any other prevailing taxes and charges payable by the building owner.

1. **The Contract**

 The letter of Acceptance together with this Quotation form shall constitute the contract between

 the Ministry and the Lessor. The successful bidder will have to enter into a lease agreement with

 the Ministry.

4. **Lessee/Lessor**

The Ministry is the Lessee for the purpose of entering into contract with the successful bidder referred hereto as Lessor.

5. **Project Manager**

The Project Manager is the person appointed by the Lessee responsible for supervising the execution of the services and administrating the contract.

6. **Advanced Payment**

Advance payment is **not** applicable.

**7. Payment**

The Lessee undertakes to effect payment each month on submission of an invoice from the lessor.

8. **Eligibility of Bidders**

Bidders should prove themselves to be owner of the building and overall premises and duly authorized to enter into a lease agreement with a third party. Bidders should submit evidence of their ownership of the premises and layout of their premises indicating the usable space.

9. **Validity of Bids**

The bid validity period shall be 120 days as from the date of the deadline for the submission of bids.

 10. **Clarification of Quotation Form**

For any clarification regarding the quotation form, bidders may contact the Ministry in writing to:

 **The Permanent Secretary**

 **Attn: Secretariat Departmental Bid Committee**

 **Ministry of Gender Equality and Family Welfare**

 **7th Floor, Newton Tower**

 **Sir William Newton Street,**

 **Port Louis.**

**Fax No: 214 1194/213 6328**

 **e-mail address:** genderdbc@govmu.org

Requests for clarifications should be made at least 14 days prior to the closing date for submission.

11. **Amendment of Quotation Form**

Before the deadline for submission of quotation, the **Ministry of Gender Equality and Family Welfare** may modify the quotation form by issuing addenda. Any addendum issued shall be communicated in writing to everyone having obtained the quotation forms directly from the Ministry.

12. **Evaluation Methodology**

1. After receiving the quotations, the premises offered will be visited by the Bid Evaluation Committee to identify those premises that meet the specified requirements.
2. (i) Proposals satisfying the general requirements and detailed requirements will be retained for further evaluation;

(ii) Proposals that meet the general requirements and do not fully satisfy the detailed requirements will be retained for further evaluation, only if appropriate clarification is obtained from bidder within the deadline set; and

(iii) Proposals that do not comply with the general requirements will be rejected.

1. The requirements shall be subject to an evaluation based on a marking system as defined hereunder:

**Table of Rating Factors for Lease of Real Estate**

**Marking for Technical Merit (TM):**

|  |  |  |  |
| --- | --- | --- | --- |
| **SN** | **Rating Factors** | **Weight (%)** | **Rating** |
| **I** | **Location, Site Conditions & Facilities offered** |  |  |
|  | 1. Accessibility (easy access to public transport etc)  | (20) |  |
|  | 2. Accessibility for disabled persons  | (10) |  |
|  | 3. Parking for staff  | (10) |  |
|  | 4. Structural conditions | (20) |  |
|  | 5. Maintenance services | (20) |  |
|  | 6. Security Features  | (10) |  |
|  | 7. Other facilities offered | (10) |  |
|  |  | **(100)** |  |

1. **The proposal having obtained the highest mark shall be retained for award of contract subject to the Government Evaluation Office confirming the reasonableness of the quoted rate**. In case the quoted rate is substantially high, the Ministry may choose to negotiate with the highest ranked bidder or choose to consider the second ranked bidder and so forth until a deal is reached or decide to re-invite bids.

13. **Submission of Bids**

 Bidders should fill in the attached form(s) as applicable and submit all relevant documents such as evidence of ownership, layout plan of the proposed Office space, site plan etc. Bids should be forwarded in a sealed envelope, clearly marked with the Procurement Reference Number and the Bidder’s name at the back of the envelope.

 The sealed envelope should be deposited in the tender box located at the **Ministry of Gender Equality and Family Welfare, 7th Floor, Newton Tower, Sir William Newton Street, Port Louis**,not **later than, 21 July 2023 at 14 00 hrs**.

 Quotations that cannot be inserted in the tender box due to their size should be submitted to the **Officer in Charge of the Registry, 8th Floor, Newton Tower, Port Louis** by the same date and time at latest.

Late bids and bids submitted by electronic means will be rejected or shall be returned unopened to the bidder concerned.

14 **Opening of bids**

 Bids will be opened on the same day and place at **14: 15 hrs** in the presence of the bidders or their representatives who may wish to attend. The attendees shall sign a register evidencing their attendance.

**Section II Public Body’s Requirements**

**Building Space Requirement**

Proposals for renting of building - **Wellness Centre for Women in the Region of Rivière Du Rempart** shall as far as possible meet the following: -

1. Building space in the range of **500 m2** either one storey building or one hall. Space area should include: -

 Option 1: **One Hall**

1. 3 Toilets (Female) – 4 ½ x 4 ½ ft
2. 1 toilet (Handicapped)
3. 2 toilet (Male) – 4 ½ x 4 ½ ft
4. 2 Wash Bassins
5. 1 locker Room
6. 3 Changing Rooms – 4.5 ft x 22.5 ft
7. 2 Office – 12 ft x 12 ft
8. 1 Store Room 12 ft x 10 ft
9. Kitchen – 12 ft x 8 ft
10. Reception
11. Watchman Quarters
12. Parking Slots – 3 to 5
13. Space for collective classes ( with sliding seperators )
14. 1 Zen Area
15. 1 Counselling Room
16. Emergency Exit

 Option 2: **One Storey**

Ground Floor

(a) 3 Toilets (Female) – 4 ½ x 4 ½ ft

(b) 1 toilet (Handicapped)

(c) 2 toilet (Male) – 4 ½ x 4 ½ ft

(d) 2 Wash Bassins

(e) 1 locker Room

(f) 2 Changing Rooms – 4.5 ft x 22.5 ft

(g) 2 Office – 12 ft x 12 ft

(h) 1 Store Room 12 ft x 10 ft

(i) Kitchen – 12 ft x 8 ft

(j) Reception

(k) Watchman Quarters

(l) Parking Slots – 3 to 5

 First Floor

1. 1 Office for Officer(s) who will be responsible for the WWc – 12 ft x 12 ft
2. 1 Toilet (Male) – 4 ½ x 4 ½ ft
3. 1 toilet (Female) – 4 ½ x 4 ½ ft
4. 2 Changing Room – 4 ½ x 10 ft
5. Top Stair case & Main Entrance
6. 1 Zen Area
7. 1 Counselling Room
8. Space for collective classes (with sliding seperators)
9. Balcony
10. Emergency Exit Staircase
11. 2 Wash Bassin

**Sanitary conditions and physical state of building**

1. The bidder should submit proof of ownership of building or document showing that he/she is acting as a proxy. Only copies of above mentioned documents should be sent.
2. A detailed plan of the building must be submitted along with the financial submission by the provider.
3. The building or buildings and grounds shall be free of vermin.
4. Building should be reinforced concrete with security and emergency exits provided with comfortable staircase and lift (if required) in conformity with the Health, Safety and Welfare Act and to the requirements of the Fire Services.
5. The building space should be partitioned with fireproof materials and allow for the flexibility of re-organizing the space to meet the Public Body’s requirements;
6. The partitioning and structural modifications in the building, to the satisfaction of the public body, would have to be effected by the owner at his own cost;
7. Floor finish should be in ceramic tiles or equivalent for easy maintenance;
8. External, internal walls, columns, beams, ceilings should be freshly painted;
9. Openings should be fitted with burglar proof reinforcement;
10. Openings – Windows and doors should be provided with curtains or blinds;
11. The building should be provided with essential amenities such as three phase electrical supply, electrical lighting and power points, telephone lines, water supply, roof water tank and water pump;
12. The building should be provided with fire detectors, fire alarm and firefighting facilities as per established standards;
13. The other areas namely corridor, toilets, kitchen/mess should be properly ventilated;
14. In-yard parking facilities should be provided for a minimum of three (3) vehicles;
15. The premises should be fenced with boundary walls and one access gate fully secured;
16. Provision for CCTV Cameras (Outside) or Watchman + Watchman post of an area of at least 2 m X 2 m with adjacent toilet facilities;
17. The building should be accessible to the disabled and provision of toilet facilities should be catered for them;
18. The building should have a proper drainage system;
19. The roof of the building should be in good condition with no water leakages;
20. An open space area of an extent of at least 20 m2 should also be made available;
21. Provision of split type air conditioning should be provided and adequate ventilation (extractor fans) for offices, kitchens, and toilets should also be made available;
22. The building space fitted with all amenities as defined above shall be made available and ready for occupation preferably **by September 2023**; and
23. The initial contract period shall be for three (3) years renewable on terms and conditions agreeable to both parties.

**Procurement reference No**: **MGE/QN/29/2022-2023/ONB**

**To: Ministry of Gender Equality and Family Welfare.**

|  |  |  |  |
| --- | --- | --- | --- |
| SN |  | **Required** | **Proposed**(Tick as appropriate) |
| 1. | Area of Office Space excluding mess room, toilet facilities and main circulation areas (staircase, lift lobby, etc.) | Around 500 m2 | (State exact area proposed) |
| 2. | Availability of Office space | By September 2023 to be ready for occupation |

|  |  |
| --- | --- |
| Yes | No |

 |
| 3. | Building | Option 1: One Hall |

|  |  |
| --- | --- |
| Yes | No |

 |
| Option 2: One Storey Building |

|  |  |
| --- | --- |
| Yes | No |

 |
| Easy access to public |

|  |  |
| --- | --- |
| Yes | No |

 |
| Easy access for vehicles |

|  |  |
| --- | --- |
| Yes | No |

 |
| Concrete building with security and emergency exits |

|  |  |
| --- | --- |
| Yes | No |

 |
| Painted |

|  |  |
| --- | --- |
| Yes | No |

 |
| No water leakage on roof of building |

|  |  |
| --- | --- |
| Yes | No |

 |
| Openings fitted with burglarproof(windows/doors) |

|  |  |
| --- | --- |
| Yes | No |

 |
| 4. | Utilities | Power points, lightings, telephone, sockets and data points |

|  |  |
| --- | --- |
| Yes | No |

 |
| Water, water tank and water pump |

|  |  |
| --- | --- |
| Yes | No |

 |
| 5. | Facilities | Toilets - for Ladies ,for Men and Disabled Persons  |

|  |  |
| --- | --- |
| Yes | No |

 |
| Kitchen |

|  |  |
| --- | --- |
| Yes | No |

 |
| Parking Facilities: Minimum 3 Slots |

|  |  |
| --- | --- |
| Yes | No |

 |
| CCTV cameras (Outside) |

|  |  |
| --- | --- |
| Yes | No |

 |
| Or Watchman quarters / toilet |

|  |  |
| --- | --- |
| Yes | No |

 |
| Floor finish with ceramic tiles |

|  |  |
| --- | --- |
| Yes | No |

 |
| Stair case / lift ( if storeyed) |

|  |  |
| --- | --- |
| Yes | No |

 |
| Fire detectors, fire alarm, fire-fighting facilities |

|  |  |
| --- | --- |
| Yes | No |

 |
| Proper drainage system |

|  |  |
| --- | --- |
| Yes | No |

 |

I, the undersigned, duly authorized to enter into a lease agreement, declare having read all the terms and conditions of this Request for Quotation, subscribe to them without reservation and undertake to make available my premises to the Ministry of Gender Equality and Family Welfare for occupation as from ………………. complete with all amenities to the satisfaction of the Ministry at the monthly rate of Rs.………………., inclusive of VAT.

**Name of Bidder**: …………………………………………………………………………………..

**Residential Address**: ……………………………………………………………………………...

………………………………………………………………………………………………………

**Address of Proposed Building**: ………………………………………………………………......

**Tel. No**. (Home)…………………… **Mobile**: ………………………... **Office**………….................

**Date:** ……………………………… **Signature:** ……………………………………………